# Executive Summary

## Background

- Supports California’s efforts toward SB100 goals and development of LDES

## Project Purpose and Approach

- Understand the role of LDES and how it is affected by the assumptions we make about generation profiles, etc.

## Key Results

- In many cases, 8-12 hour duration LDES is used most frequently; other durations become more useful under some circumstances, but are used less frequently

- Matching generation profile to load profile reduces needs for storage, but, in most cases has little effect on the duration of storage needed

## Knowledge Transfer and Next Steps

## Results have been shared directly with CEC, with publications, presentations at conferences and through webinars

# Introduction

- Project purpose and goals – understand the role of LDES and the targets that need to be met for it to be useful

- Background (knowledge gaps) – how many hours duration, cost targets, effects of efficiency and other details on those

# Project Approach

• Project timeline and approach

• Project partners and advisors

• Core scenario description

• Comparison of RESOLVE and SWITCH models, including LDES modeling

• Sensitivity analysis

• Technology summary table with updates

# Results

• Core scenario analysis: optimal duration

• Core scenario analysis: LDES adoption as function of LDES duration and efficiency for example cost assumptions

• Core scenario analysis: LDES cost targets to enter/capture market as function of LDES duration, LDES efficiency, and time period

• Impact of EV charging profiles on need/value of LDES

• Impact of solar and wind generation profiles on need/value of LDES

• Impact of oxy-combustion on the need/value of LDES

• Opportunity of electrolyzers as a flexible load coupled with LDES

• Interplay of storage and transmission within WECC

• Summary of public outreach

# Conclusion

- 8-12 hour duration is most useful for California because of strong solar resource

- Further cost reductions and/or technology development are needed to enable LDES to compete effectively with lithium ion batteries

- There are many approaches to balancing supply and demand while meeting SB100 goals. Policy actions as well as technology development will be helpful in implementing those