Example table

| Parameter |
| --- |
| Minimum Deliverable Size |
| Minimum Incremental Size |  |
| Maximum Deliverable Size |  |
| Power factor |  |
| Rated Power for charging of reference system (kW) |  |
| Rated Power for discharging of reference system (kW) |  |
| Associated energy (kWh) at Rated power |  |
| AC or DC power? |  |
| Power Conversion System Rated Power of the reference system (kW or kVA) |  |
| Maximum charging power |  |

Survey Parameters

1:
 Degradation losses (max power), Degradation losses (max energy)  
(% per year and % per 1000 cycles)

Energy loss during storage (% stored /day, kWh/day)

2, 3: 
Nominal Cycles per year (#)
 + Nominal Depth of Cycles (%)
 + Cycle Life at Depth of Discharge (# cycles at 20%, 50%, 80%, and 100% discharge)

Average System Life Expectancy (years)

- Keep life expectancy in cycles rather than years? Fewer assumptions baked in regarding nominal cycles per year.

4, 5:

Charging, Discharging, and Roundtrip Efficiency at Rated Power (%)

-Discharging seems most important unless you are purchasing energy to charge.

6:

Ramp up rate (% rated power/s, kW/s)

Response time to/from discharge/charge (s)
- How important are these two? Do we really care as long as it’s not hours?

Survey Parameters

1:  Not part of survey

2:

Associated energy at Rated power (kWh)  Discharge time

- Would think this would depend on chosen size of build.

3, 4:

Total Capital cost of reference system ($/kW, $/kWh)

5:

Fixed Operation and Maintenance cost ($/kW-yr)

Variable Operation and Maintenance cost ($/kWh-yr)

6:  Not part of survey.

-Should we include column for maturity? More a qualitative measure and does not look like it would contribute much to the comparison other than maybe an asterisk to suggest possible reduction of future capital cost estimates.